## Sheet1
Name | Circuit Number | Cable Specification | Terminal Load | Corresponding Element | Conduit Size (mm) | Elevation (m) | System | Remarks
DB-EXAMPLE-1
[AUTO GENERATED BY ROW B] | L1 | 4x1C 6sq.mm. PVC/PVC + E CU RUN IN HDG. TRAY/TRUNKING | 20A | [SKIP] |  | [SKIP] | Power System | 20A ISOLATOR
[AUTO GENERATED BY ROW B] | L2 | 4x1C 6sq.mm. PVC/PVC + E CU RUN IN HDG. TRAY/TRUNKING | 20A | [SKIP] |  | [SKIP] | Power System | 20A ISOLATOR
[AUTO GENERATED BY ROW B] | L3 | 4x1C 6sq.mm. PVC/PVC + E CU RUN IN HDG. TRAY/TRUNKING | 20A | [SKIP] |  | [SKIP] | Power System | 20A ISOLATOR
[AUTO GENERATED BY ROW B] | L4 | 4x1C 6sq.mm. PVC/PVC + E CU RUN IN HDG. TRAY/TRUNKING | 20A | [SKIP] |  | [SKIP] | Power System | 20A ISOLATOR
[AUTO GENERATED BY ROW B] | L5 | 4x1C 6sq.mm. PVC/PVC + E CU RUN IN HDG. TRAY/TRUNKING | 20A | [SKIP] |  | [SKIP] | Power System | 20A ISOLATOR
[AUTO GENERATED BY ROW B] | L6 | 4x1C 6sq.mm. PVC/PVC + E CU RUN IN HDG. TRAY/TRUNKING | 20A | [SKIP] |  | [SKIP] | Power System | 20A ISOLATOR
[AUTO GENERATED BY ROW B] | L7 | SPARE | 20A
[AUTO GENERATED BY ROW B] | L8 | SPARE | 20A
DB-EXAMPLE-2
[AUTO GENERATED BY ROW B] | T1 | 4x1C 6sq.mm. PVC/PVC + E CU RUN IN HDG. TRAY/TRUNKING | 16A | [SKIP] |  | [SKIP] | Lighting System | T5 BATTEN
[AUTO GENERATED BY ROW B] | T2 | 4x1C 6sq.mm. PVC/PVC + E CU RUN IN HDG. TRAY/TRUNKING | 16A | [SKIP] |  | [SKIP] | Lighting System | T5 BATTEN
[AUTO GENERATED BY ROW B] | T3 | 4x1C 6sq.mm. PVC/PVC + E CU RUN IN HDG. TRAY/TRUNKING | 16A | [SKIP] |  | [SKIP] | Lighting System | T5 BATTEN
[AUTO GENERATED BY ROW B] | T4 | 4x1C 6sq.mm. PVC/PVC + E CU RUN IN HDG. TRAY/TRUNKING | 16A | [SKIP] |  | [SKIP] | Lighting System | T5 BATTEN
[AUTO GENERATED BY ROW B] | T5 | SPARE | 20A
MSB-EXAMPLE
[AUTO GENERATED BY ROW B] | F1 | 4x1C 50sq.mm. PVC/PVC + E CU RUN IN HDG. TRAY/TRUNKING | DB-EXAMPLE-1 | [SKIP] |  | [SKIP] | Power System | MAIN TO DB
[AUTO GENERATED BY ROW B] | F2 | 4x1C 50sq.mm. PVC/PVC + E CU RUN IN HDG. TRAY/TRUNKING | DB-EXAMPLE-2 | [SKIP] |  | [SKIP] | Power System | MAIN TO DB